Guelph Family Health Team                                    Monthly Facility Walkabout

Conducted by:   ________________________________

Date:                  ________________________________

General Conditions

Circle any of the following words that require attention.

- Are all walking surfaces, including aisles clean, clear of debris, dry, and accessible?

- Any trip hazards, including cords, boxes, torn carpet, other?

- Are workstations, offices, meeting rooms, washrooms, reception or wait areas, storage and empty space in good condition?

- Is area lighting adequate and safe?

- Is general housekeeping free from bacteria, odour, dust, etc.?

- Are storage areas neat and orderly with no potential for falling boxes or spills, etc.?

- Are WHMIS standards being enforced, such as hazardous materials storage, protective use, etc.?

- Is office furniture and equipment in safe and ergonomically correct condition?

Building Evacuation and Safety

- Are there sufficient exits properly signed and lighted?

- Are all exit paths accessible for all persons?

- Are all exit doors operable at all times?

- Is emergency lighting operable?

- Does the fire alarm work?

- Has the fire alarm been tested?

- Are emergency phone numbers posted in visible areas throughout the building?

- Has a fire drill or evacuation test been conducted this year?

Fire Prevention

- Are portable fire extinguishers available?

- Is the sprinkler smoke, heat, security systems operable and tested regularly?

- Is a no smoking policy enforced?

- Is there any evidence of electrical equipment or plugs overheating?

- Are multiple plug outlets and use of extension cords kept to a minimum?

- Are portable heating devices UL-listed?                                                                           (next page)

Kitchen

- Is the cooking ventilation system equipped with filters?

- Is a small kitchen fire extinguisher visible?

- Is a first aid kit contained in the kitchen?

- Are there any visible safety risks in the kitchen area, including knives, wires, outlets near sinks, wet floors, etc.?

Equipment

- Are state inspection certificates on file and current?

- Is the photocopier operating safely and in an area where emissions are not a health hazard?

- Any office equipment that requires repair or maintenance?

Other Site Specific Concerns

List: ______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________